## Slide 1: Fire Mountain Farms Biosolids Permitting and Agreed Order
Peter Lyon and Shawnté Greenway
SW Regional Biosolids Coordinator
November 18, 2020

## Slide 2: What are Biosolids?

## Slide 3: Sludge vs. Biosolids
Sewage Sludge
Solids that have not met state regulatory standards
Biosolids
Treated solids that have met state regulatory standards for land application
Biosolids are treated sewage sludge

## Slide 4: Why are Biosolids Land Applied?
“The legislature declares that a program shall be established to manage municipal sewage sludge and that the program shall, to the maximum extent possible, ensure that municipal sewage sludge is reused as a beneficial commodity and is managed in a manner that minimizes risk to public health and the environment.”

## Slide 5: How Does Ecology Regulate Biosolids?

## Slide 6: Biosolids Permitting Process

## Slide 7: What Does Ecology Regulate?
Pathogen
Insects and Rodents
Pollutants

## Slide 8: Proposed Sites

## Slide 9: Fire Mountain Farms Permit Application
Site Specific Land Application Plans
Maps
Soil Survey
Landowner Agreement
SEPA Determination of Non-Significance
Agreed Order Conditions

## Slide 10: Agreed Order
All Lewis County Sites
Staging
Odors
Biosolids Application Management Matrix
Site Specific
See Agreed Order conditions for specific conditions
Notes: Maybe delete

## Slide 11: Biosolids Application Management Matrix
Target (≥15 ppm) | No increase in application rate or decrease in nutrient removal without Ecology consultation
Above Target (>15 ppm - 30 ppm) | Report proposed actions to reduce residual nitrates Ecology may require a reduced application rate up to 25%
Excessively Above Target (>30 ppm) | Explanatory report shall be submitted by professional consultant which includes recommended changes to application and farming practices Ecology may require a reduced application rate up to an additional 25% After three consecutive years in this bracket, stop application until fall soil nitrate returns to target range

## Slide 12: Raise your webinar hand and wait to be unmuted - or – Type your question in the chat box and we’ll read it
Shawnté Greenway, swrobiosolids@ecy.wa.gov, 360-407-6055
Questions?
Notes: And with that, I’ll pass it back to Angie for our question and answer session.

## Slide 13
Other ways to send us your comments, due by Dec. 2, 2020
Online
http://wq.ecology.commentinput.com/?id=DQCfZ
Mail
Shawnté Greenway
Department of Ecology
P.O. Box 47775
Olympia, WA 98504-7775
Public Hearing
Hearing officer: Angela Fritz