## Control Charting Overview
Control Charts for Labs
Using Excel Spreadsheets
Control Charts and Bench Sheets is a Washington State Department of Ecology website that discusses quality-control tools for laboratories.
Manuals and Procedures for Accredited Laboratories offers other resources.
Control charting is a means of visually tracking performance to determine when a procedure is not meeting data quality objectives. Control charts indicate when a procedure is headed out of control so the analyst can pause, eliminate the source of the problem, and prevent the out-of-control situation. These spreadsheets automate the construction and use of control charts.
The Standard-solution_Template tab in this worksheet automates construction of control charts based on analyses of standard solutions (such as the glucose/glutamic acid standard for the BOD test, or a nitrate solution of known value used to check calibration of a spectrophotometer or colorimeter).
The Duplicate-solution_Template is used for monitoring the precision of analysis of duplicate samples. Because the difference between the two analyses is dependent on concentration, the concentration of pairs chosen for the spreadsheet must be in the same order of magnitude (e.g., a Wastewater Treatment Plant could do duplicates on its effluent, and the results would normally be in the same order of magnitude, whereas samples from the influent might vary widely).
When setting up a chart, each computes a standard deviation. For the Standard-solution_Template. it is the standard deviation of the results themselves, and for Duplicate-solution_Template, it is the standard deviation of the actual difference between the two samples in the duplicate pair.
Based on those standard deviations, each sheet computes and plots upper and lower warning limits (UWL and LWL, respectively) and upper and lower action limits (UAL and LAL, respectively).
The Standard-solution_Template computes a mean value around which to plot the warning and control lines; the Duplicate-solution_Template plots around a value of 0.00, the expected difference between duplicate analyses of a single sample.
After the blank control chart is constructed, there is no need to enter subsequent values, although doing so will produce a neat and professional-looking chart. Results can just be entered on the chart itself in ink to save time. Some users of control charts draw lines between successive results on the chart so trends are easier to spot (Excel does this for you automatically, if you enter subsequent results in the program).

## Standard-solution_Instructions
Precision control chart based on standard solutions
When you click the tab for the "Standard-solution_Template" below, the “#DIV/0!” in the “Statistics” block will indicate no data has been entered for use by the program in computing mean, standard deviation, and control limits. To set up the control chart, identify the analyte in Cell A4 (optional) and enter 10-20 analysis values in Cells B6 through B25. The program draws a chart based on only two analyses, but ten or more analyses are recommended for a valid estimate of standard deviation.
Excel automatically chooses the upper and lower limits of the “Y” axis. This may cause the UAL, UWL, LWL, and LAL lines to be placed very close together on the chart which would cause the chart to lose definition and usefulness. Avoid this problem by setting the upper and lower limits of the “Y” axis by double clicking anywhere in the control chart, clicking on the “Y” axis, and then choosing FORMAT, SELECTED AXIS, SCALE, and setting the minimum value just below the LAL value, and the maximum just above the UAL. Choose whatever is appropriate for the major and minor units. Once these values are set, they stay with the saved file.
After sufficient values have been entered B6 - B25, the chart is ready to use, and subsequent values may be entered in Cells D6 through D35. As many as 30 values may be plotted before a new chart must be constructed. Once 30 values have been entered, values for the last 20 (i.e., Tests 11-30) may be copied to B6 - B25. The program will compute a new standard deviation and plot a new chart based on the most recent data. Values in Cells D6 - D35 should then be erased (block, then EDIT, CLEAR, CONTENTS).
NOTE: Once you have entered data on "Standard-solution_Template," be sure to save your file under a new name, perhaps something associated with the analyte (e.g., "BODChart.xls").
Open the sheet tab called "Standard-solution_Example" for an example of a chart that has already been constructed and used for BOD determinations. You will see that the procedure was in control until Test #19 or so when a downward trend started. By the time this lab got to Test #28 (or earlier), they should have noticed this trend and taken corrective action.

## Standard-solution_Template
Repeated Analysis of a Standard Solution (put your own title in A2)
Test Name (put your own in A4)
Preliminary Tests |  | Daily Tests
Test # | Result | Test # | Result | UAL | UWL | MEAN | LWL | LAL
1 |  | 1 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2 |  | 2 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
3 |  | 3 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
4 |  | 4 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
5 |  | 5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
6 |  | 6 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
7 |  | 7 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
8 |  | 8 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9 |  | 9 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
10 |  | 10 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
11 |  | 11 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
12 |  | 12 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
13 |  | 13 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
14 |  | 14 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
15 |  | 15 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
16 |  | 16 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
17 |  | 17 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
18 |  | 18 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
19 |  | 19 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
20 |  | 20 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
STATISTICS |  | 21 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
for Preliminary |  | 22 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
tests |  | 23 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | 24 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Std Dev | #DIV/0! | 25 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Mean | #DIV/0! | 26 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
UAL | #DIV/0! | 27 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
UWL | #DIV/0! | 28 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
LWL | #DIV/0! | 29 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
LAL | #DIV/0! | 30 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!

## Standard-solution_Example
CASCADE WTP LAB NITRATE CHECK STANDARD 2006
Nitrate (5.0 mg/L Check Standard)
Preliminary Tests |  | Daily Tests
Test | Result | Test | Result | UAL | UWL | MEAN | LWL | LAL
2006-01-02 | 4.98 | 2006-02-01 | 5.07 | 5.1769 | 5.1081 | 4.9705 | 4.8329 | 4.7641
2006-01-03 | 5.04 | 2006-02-02 | 4.86 | 5.1769 | 5.1081 | 4.9705 | 4.8329 | 4.7641
2006-01-04 | 4.87 | 2006-02-03 | 5 | 5.1769 | 5.1081 | 4.9705 | 4.8329 | 4.7641
2006-01-05 | 4.91 | 2006-02-06 | 4.85 | 5.1769 | 5.1081 | 4.9705 | 4.8329 | 4.7641
2006-01-09 | 4.93 | 2006-02-07 | 4.92 | 5.1769 | 5.1081 | 4.9705 | 4.8329 | 4.7641
2006-01-10 | 5.07 | 2006-02-08 | 4.89 | 5.1769 | 5.1081 | 4.9705 | 4.8329 | 4.7641
2006-01-11 | 4.98 | 2006-02-09 | 4.97 | 5.1769 | 5.1081 | 4.9705 | 4.8329 | 4.7641
2006-01-12 | 5.04 | 2006-02-10 | 4.79 | 5.1769 | 5.1081 | 4.9705 | 4.8329 | 4.7641
2006-01-13 | 4.87 | 2006-02-13 | 4.9 | 5.1769 | 5.1081 | 4.9705 | 4.8329 | 4.7641
2006-01-17 | 4.91 |  |  | 5.1769 | 5.1081 | 4.9705 | 4.8329 | 4.7641
2006-01-18 | 4.99 |  |  | 5.1769 | 5.1081 | 4.9705 | 4.8329 | 4.7641
2006-01-19 | 4.93 |  |  | 5.1769 | 5.1081 | 4.9705 | 4.8329 | 4.7641
2006-01-20 | 5.07 |  |  | 5.1769 | 5.1081 | 4.9705 | 4.8329 | 4.7641
2006-01-23 | 5.07 |  |  | 5.1769 | 5.1081 | 4.9705 | 4.8329 | 4.7641
2006-01-24 | 4.98 |  |  | 5.1769 | 5.1081 | 4.9705 | 4.8329 | 4.7641
2006-01-25 | 5.04 |  |  | 5.1769 | 5.1081 | 4.9705 | 4.8329 | 4.7641
2006-01-26 | 4.87 |  |  | 5.1769 | 5.1081 | 4.9705 | 4.8329 | 4.7641
2006-01-27 | 4.91 |  |  | 5.1769 | 5.1081 | 4.9705 | 4.8329 | 4.7641
2006-01-30 | 4.99 |  |  | 5.1769 | 5.1081 | 4.9705 | 4.8329 | 4.7641
2006-01-31 | 4.96 |  |  | 5.1769 | 5.1081 | 4.9705 | 4.8329 | 4.7641
STATISTICS |  |  |  | 5.1769 | 5.1081 | 4.9705 | 4.8329 | 4.7641
for Preliminary |  |  |  | 5.1769 | 5.1081 | 4.9705 | 4.8329 | 4.7641
tests |  |  |  | 5.1769 | 5.1081 | 4.9705 | 4.8329 | 4.7641
|  |  |  | 5.1769 | 5.1081 | 4.9705 | 4.8329 | 4.7641
Std Dev | 0.068785 |  |  | 5.1769 | 5.1081 | 4.9705 | 4.8329 | 4.7641
Mean | 4.9705 |  |  | 5.1769 | 5.1081 | 4.9705 | 4.8329 | 4.7641
UAL | 5.1769 |  |  | 5.1769 | 5.1081 | 4.9705 | 4.8329 | 4.7641
UWL | 5.1081 |  |  | 5.1769 | 5.1081 | 4.9705 | 4.8329 | 4.7641
LWL | 4.8329 |  |  | 5.1769 | 5.1081 | 4.9705 | 4.8329 | 4.7641
LAL | 4.7641 |  |  | 5.1769 | 5.1081 | 4.9705 | 4.8329 | 4.7641
|  |  |  | 5.1769 | 5.1081 | 4.9705 | 4.8329 | 4.7641
|  |  |  | 5.1769 | 5.1081 | 4.9705 | 4.8329 | 4.7641
|  |  |  | 5.1769 | 5.1081 | 4.9705 | 4.8329 | 4.7641
|  |  |  | 5.1769 | 5.1081 | 4.9705 | 4.8329 | 4.7641

## Duplicate-solution_Instructions
Precision control chart for duplicate measurements
The "Duplicate-solution_Template" in the next tab below is for constructing and using a control chart based in pairs of analyses (i.e., duplicates) for a single sample. The two values are entered in Cells B6 - B25 and C6 - C25. Enter at least 10, but preferably enter 20 pairs. As with the "Standard-solution_Template", the last 20 pairs in Cells E-6 - E35 and F-6 - F35 may be used to construct a new control chart by copying them to Cells B6 - B25 and C6 - C25. See the "Duplicate-solution_Example" tab as an example of this kind of chart.

## Duplicate-solution_Template
Analysis of Duplicates (put your own title in A1)
Name of Test (put your own in A3)
Preliminary Tests |  |  | Daily Tests |  |  |  | SETUP | W | X | Y | Z | AA
Test | #1 | #2 | Test | #1 | #2 | Difference | DIFF | UAL | UWL | CENTER | LWL | LAL
1 |  |  | 1 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 |  |  | 2 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 |  |  | 3 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 |  |  | 4 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
5 |  |  | 5 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
6 |  |  | 6 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
7 |  |  | 7 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
8 |  |  | 8 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
9 |  |  | 9 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
10 |  |  | 10 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
11 |  |  | 11 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
12 |  |  | 12 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
13 |  |  | 13 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
14 |  |  | 14 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
15 |  |  | 15 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
16 |  |  | 16 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
17 |  |  | 17 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
18 |  |  | 18 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
19 |  |  | 19 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
20 |  |  | 20 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
STATISTICS |  |  | 21 |  |  |  |  | 0 | 0 | 0 | 0 | 0
for Preliminary |  |  | 22 |  |  |  |  | 0 | 0 | 0 | 0 | 0
tests |  |  | 23 |  |  |  |  | 0 | 0 | 0 | 0 | 0
Std Deviation |  |  | 24 |  |  |  |  | 0 | 0 | 0 | 0 | 0
of the |  | 0 | 25 |  |  |  |  | 0 | 0 | 0 | 0 | 0
difference |  |  | 26 |  |  |  |  | 0 | 0 | 0 | 0 | 0
UAL |  | 0 | 27 |  |  |  |  | 0 | 0 | 0 | 0 | 0
UWL |  | 0 | 28 |  |  |  |  | 0 | 0 | 0 | 0 | 0
LWL |  | 0 | 29 |  |  |  |  | 0 | 0 | 0 | 0 | 0
LAL |  | 0 | 30 |  |  |  |  | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0 | 0

## Duplicate-solution_Example
CASCADE WTP LAB EFFLUENT TSS DUPLICATES
TSS in mg/L
Preliminary Tests |  |  | Daily Tests |  |  |  | SETUP | W | X | Y | Z | AA
Test | #1 | #2 | Test | #1 | #2 | Difference | DIFF | UAL | UWL | CENTER | LWL | LAL
1 | 3.1 | 4.1 | 1 | 3.4 | 4.2 | -0.8 | -1 | 3.8585 | 2.5723 | 0 | -2.5723 | -3.8585
2 | 2.2 | 1.2 | 2 | 2.1 | 1.2 | 0.9 | 1 | 3.8585 | 2.5723 | 0 | -2.5723 | -3.8585
3 | 3.1 | 2.2 | 3 | 3.2 | 4 | -0.8 | 0.9 | 3.8585 | 2.5723 | 0 | -2.5723 | -3.8585
4 | 4.3 | 3.1 | 4 | 4.2 | 3.9 | 0.3 | 1.2 | 3.8585 | 2.5723 | 0 | -2.5723 | -3.8585
5 | 3.1 | 4 | 5 | 3.3 | 4.1 | -0.8 | -0.9 | 3.8585 | 2.5723 | 0 | -2.5723 | -3.8585
6 | 4.3 | 3.1 | 6 | 4.2 | 2.4 | 1.8 | 1.2 | 3.8585 | 2.5723 | 0 | -2.5723 | -3.8585
7 | 5.1 | 4.1 | 7 | 5 | 6.1 | -1.1 | 1 | 3.8585 | 2.5723 | 0 | -2.5723 | -3.8585
8 | 3.2 | 5.1 | 8 | 3.4 | 5 | -1.6 | -1.9 | 3.8585 | 2.5723 | 0 | -2.5723 | -3.8585
9 | 4.2 | 3 | 9 | 4.3 | 3.2 | 1.1 | 1.2 | 3.8585 | 2.5723 | 0 | -2.5723 | -3.8585
10 | 5 | 4.2 | 10 | 5.3 | 5.2 | 0.1 | 0.8 | 3.8585 | 2.5723 | 0 | -2.5723 | -3.8585
11 | 3.1 | 5.2 | 11 | 3.2 | 5.2 | -2 | -2.1 | 3.8585 | 2.5723 | 0 | -2.5723 | -3.8585
12 | 4.1 | 3.2 | 12 | 4.2 | 3.2 | 1 | 0.9 | 3.8585 | 2.5723 | 0 | -2.5723 | -3.8585
13 | 3.2 | 4.3 | 13 | 4.2 | 4 | 0.2 | -1.1 | 3.8585 | 2.5723 | 0 | -2.5723 | -3.8585
14 | 4 | 3.2 | 14 | 4 | 3.5 | 0.5 | 0.8 | 3.8585 | 2.5723 | 0 | -2.5723 | -3.8585
15 | 5.2 | 4.1 | 15 | 5.4 | 1.9 | 3.5 | 1.1 | 3.8585 | 2.5723 | 0 | -2.5723 | -3.8585
16 | 3.4 | 5.1 | 16 | 2.8 | 5.5 | -2.7 | -1.7 | 3.8585 | 2.5723 | 0 | -2.5723 | -3.8585
17 | 4.3 | 3 | 17 | 4.1 | 3.5 | 0.6 | 1.3 | 3.8585 | 2.5723 | 0 | -2.5723 | -3.8585
18 | 5.1 | 4.1 | 18 | 4.3 | 6 | -1.7 | 1 | 3.8585 | 2.5723 | 0 | -2.5723 | -3.8585
19 | 2.3 | 4.2 | 19 | 1.5 | 4.9 | -3.4 | -1.9 | 3.8585 | 2.5723 | 0 | -2.5723 | -3.8585
20 | 1.2 | 2.1 | 20 | 6 | 2.3 | 3.7 | -0.9 | 3.8585 | 2.5723 | 0 | -2.5723 | -3.8585
STATISTICS |  |  | 21 |  |  |  |  | 3.8585 | 2.5723 | 0 | -2.5723 | -3.8585
for Preliminary |  |  | 22 |  |  |  |  | 3.8585 | 2.5723 | 0 | -2.5723 | -3.8585
tests |  |  | 23 |  |  |  |  | 3.8585 | 2.5723 | 0 | -2.5723 | -3.8585
Std Deviation |  |  | 24 |  |  |  |  | 3.8585 | 2.5723 | 0 | -2.5723 | -3.8585
of the |  | 1.2862 | 25 |  |  |  |  | 3.8585 | 2.5723 | 0 | -2.5723 | -3.8585
difference |  |  | 26 |  |  |  |  | 3.8585 | 2.5723 | 0 | -2.5723 | -3.8585
UAL |  | 3.8585 | 27 |  |  |  |  | 3.8585 | 2.5723 | 0 | -2.5723 | -3.8585
UWL |  | 2.5723 | 28 |  |  |  |  | 3.8585 | 2.5723 | 0 | -2.5723 | -3.8585
LWL |  | -2.5723 | 29 |  |  |  |  | 3.8585 | 2.5723 | 0 | -2.5723 | -3.8585
LAL |  | -3.8585 | 30 |  |  |  |  | 3.8585 | 2.5723 | 0 | -2.5723 | -3.8585
[8 empty] | 3.8585 | 2.5723 | 0 | -2.5723 | -3.8585
[8 empty] | 3.8585 | 2.5723 | 0 | -2.5723 | -3.8585
[8 empty] | 3.8585 | 2.5723 | 0 | -2.5723 | -3.8585
[8 empty] | 3.8585 | 2.5723 | 0 | -2.5723 | -3.8585