An Investment Grade Efficiency Audit is a requirement of state infrastructure funding.  The requirement applies if:

- The project received funding after July 1, 2011

- The project involves repair, replacement, or improvement of a wastewater treatment plant or other public works facility, AND

- an investment grade efficiency audit is obtainable.

Methods to Meet the Requirement

1.	Documentation that you have met the IGEA requirements in the past

- An audit showing potential energy savings

- A design review

- Documentation must be less than 3 years old

2.  Third Party Design Review

- New projects and major retrofits may not fit into a traditional energy audit framework.

- The design review will focus on the energy intensive processes: Motors, pumps, blowers…

- A design firm can sub-out to a qualified third party for “peer review” on the energy components

- Design review can also be conducted by your power provider.  (This includes PUD’s w/ their own energy experts)

3.  No “Obtainable” Energy Savings

- Projects receiving funding with no energy use i.e. “pipes and pavement”

- Minimal energy use (maintenance lighting)

- A preliminary audit that concludes that energy savings are not obtainable.

4.  A formal audit

- An IGEA will identify cost effective energy strategies to save power and money for your utility

- The audit can be prepared by your power provider or an Energy Services Company (ESCO)

- Starts with a preliminary audit to determine if an investment grade audit is “obtainable”

Contacts for additional information:

David Dunn P.E.  	Stephen Dunk

Washington State Department of Ecology	Public Works Board

Water Quality - Financial Management	Public Works Trust Fund

360-407-6503	360-725-3157

david.dunn@ecy.wa.gov 	stephen.dunk@commerce.wa.gov

Doug Kilpatrick, PE  	Karen Klocke

Department of Enterprise Services	Department of Health

Energy Program	Drinking Water Program

360-407-9380	360-236-3116

douglas.kilpatrick@des.wa.gov 	karen.klocke@doh.wa.gov