| Project Name |  | Permit # |  | Inspection Date |  | Time |  |
| --- | --- | --- | --- | --- | --- | --- | --- |

Name of Certified Erosion Sediment Control Lead (CESCL) or qualified inspector if less than one acre

| Print Name: |  |
| --- | --- |

| Approximate rainfall amount since the last inspection (in inches): |  |
| --- | --- |

| Approximate rainfall amount in the last 24 hours (in inches): |  |
| --- | --- |

| Current Weather | Clear |  | Cloudy |  | Mist |  | Rain |  | Wind |  | Fog |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| A. Type of inspection: | Weekly |  | Post Storm Event |  | Other |  |
| --- | --- | --- | --- | --- | --- | --- |

B. Phase of Active Construction (check all that apply):

| Pre Construction/installation of erosion/sediment controls |  | Clearing/Demo/Grading |  | Infrastructure/storm/roads |  |
| --- | --- | --- | --- | --- | --- |
| Concrete pours |  | Vertical Construction/buildings |  | Utilities |  |
| Offsite improvements |  | Site temporary stabilized |  | Final stabilization |  |

C. Questions:

| 1. Were all areas of construction and discharge points inspected? | Yes |  | No |  |
| --- | --- | --- | --- | --- |
| 2. Did you observe the presence of suspended sediment, turbidity, discoloration, or oil sheen | Yes |  | No |  |
| 3. Was a water quality sample taken during inspection? (refer to permit conditions S4 & S5) | Yes |  | No |  |
| 4. Was there a turbid discharge 250 NTU or greater, or Transparency 6 cm or less?* | Yes |  | No |  |
| 5. If yes to #4 was it reported to Ecology? | Yes |  | No |  |
| 6. Is pH sampling required? pH range required is 6.5 to 8.5. | Yes |  | No |  |

If answering yes to a discharge, describe the event. Include when, where, and why it happened; what action was taken, and when.

*If answering yes to # 4 record NTU/Transparency with continual sampling daily until turbidity is 25 NTU or less/ transparency is 33 cm or greater.

| Sampling Results: |  | Date: |  |
| --- | --- | --- | --- |

| Parameter | Method (circle one) | Result |  |  | Other/Note |
| --- | --- | --- | --- | --- | --- |
|  |  | NTU | cm | pH |  |
| Turbidity | tube, meter, laboratory |  |  |  |  |
| pH | Paper, kit, meter |  |  |  |  |

D.  Check the observed status of all items. Provide “Action Required “details and dates.

| Element # | Inspection | BMPs Inspected |  |  | BMP needs maintenance | BMP failed | Action required (describe in section F) |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | yes | no | n/a |  |  |  |
| 1 Clearing Limits | Before beginning land disturbing activities are all clearing limits, natural resource areas (streams, wetlands, buffers, trees) protected with barriers or similar BMPs? (high visibility recommended) |  |  |  |  |  |  |
| 2 Construction Access | Construction access is stabilized with quarry spalls or equivalent BMP to prevent sediment from being tracked onto roads? |  |  |  |  |  |  |
|  | Sediment tracked onto the road way was cleaned thoroughly at the end of the day or more frequent as necessary. |  |  |  |  |  |  |
| 3 Control Flow Rates | Are flow control measures installed to control stormwater volumes and velocity during construction and do they protect downstream properties and waterways from erosion? |  |  |  |  |  |  |
|  | If permanent infiltration ponds are used for flow control during construction, are they protected from siltation? |  |  |  |  |  |  |
| 4 Sediment Controls | All perimeter sediment controls (e.g. silt fence, wattles, compost socks, berms, etc.) installed, and maintained in accordance with the Stormwater Pollution Prevention Plan (SWPPP). |  |  |  |  |  |  |
|  | Sediment control BMPs (sediment ponds, traps, filters etc.) have been constructed and functional as the first step of grading. |  |  |  |  |  |  |
|  | Stormwater runoff from disturbed areas is directed to sediment removal BMP. |  |  |  |  |  |  |
| 5 Stabilize Soils | Have exposed un-worked soils been stabilized with effective BMP to prevent erosion and sediment deposition? |  |  |  |  |  |  |

| Element # | Inspection | BMPs Inspected |  |  |  | BMP needs maintenance |  | BMP failed | Action required (describe in section F) |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | yes | no | n/a |  |  |  |  |  |  |
| 5 Stabilize Soils Cont. | Are stockpiles stabilized from erosion, protected with sediment trapping measures and located away from drain inlet, waterways, and drainage channels? |  |  |  |  |  |  |  |  |
|  | Have soils been stabilized at the end of the shift, before a holiday or weekend if needed based on the weather forecast? |  |  |  |  |  |  |  |  |
| 6 Protect Slopes | Has stormwater and ground water been diverted away from slopes and disturbed areas with interceptor dikes, pipes and or swales? |  |  |  |  |  |  |  |  |
|  | Is off-site storm water managed separately from stormwater generated on the site? |  |  |  |  |  |  |  |  |
|  | Is excavated material placed on uphill side of trenches consistent with safety and space considerations? |  |  |  |  |  |  |  |  |
|  | Have check dams been placed at regular intervals within constructed channels that are cut down a slope? |  |  |  |  |  |  |  |  |
| 7 Drain Inlets | Storm drain inlets made operable during construction are protected. |  |  |  |  |  |  |  |  |
|  | Are existing storm drains within the influence of the project protected? |  |  |  |  |  |  |  |  |
| 8 Stabilize Channel and Outlets | Have all on-site conveyance channels been designed, constructed and stabilized to prevent erosion from expected peak flows? |  |  |  |  |  |  |  |  |
|  | Is stabilization, including armoring material, adequate to prevent erosion of outlets, adjacent stream banks, slopes and downstream conveyance systems? |  |  |  |  |  |  |  |  |
| 9 Control Pollutants | Are waste materials and demolition debris handled and disposed of to prevent contamination of stormwater? |  |  |  |  |  |  |  |  |
|  | Has cover been provided for all chemicals, liquid products, petroleum products, and other material? |  |  |  |  |  |  |  |  |
|  | Has secondary containment been provided capable of containing 110% of the volume? |  |  |  |  |  |  |  |  |
|  | Were contaminated surfaces cleaned immediately after a spill incident? |  |  |  |  |  |  |  |  |
|  | Were BMPs used to prevent contamination of stormwater by a pH modifying sources? |  |  |  |  |  |  |  |  |
| Element # | Inspection | BMPs Inspected |  |  | BMP needs maintenance |  | BMP failed |  | Action required (describe in section F) |
|  |  | yes | no | n/a |  |  |  |  |  |
| 9 Cont. | Wheel wash wastewater is handled and disposed of properly. |  |  |  |  |  |  |  |  |
| 10 Control Dewatering | Concrete washout in designated areas. No washout or excess concrete on the ground. |  |  |  |  |  |  |  |  |
|  | Dewatering has been done to an approved source and in compliance with the SWPPP. |  |  |  |  |  |  |  |  |
|  | Were there any clean non turbid dewatering discharges? |  |  |  |  |  |  |  |  |
| 11 Maintain BMP | Are all temporary and permanent erosion and sediment control BMPs maintained to perform as intended? |  |  |  |  |  |  |  |  |
| 12 Manage the Project | Has the project been phased to the maximum degree practicable? |  |  |  |  |  |  |  |  |
|  | Has regular inspection, monitoring and maintenance been performed as required by the permit? |  |  |  |  |  |  |  |  |
|  | Has the SWPPP been updated, implemented and records maintained? |  |  |  |  |  |  |  |  |
| 13 Protect LID | Is all Bioretention and Rain Garden Facilities protected from sedimentation with appropriate BMPs? |  |  |  |  |  |  |  |  |
|  | Is the Bioretention and Rain Garden protected against over compaction of construction equipment and foot traffic to retain its infiltration capabilities? |  |  |  |  |  |  |  |  |
|  | Permeable pavements are clean and free of sediment and sediment laden-water runoff. Muddy construction equipment has not been on the base material or pavement. |  |  |  |  |  |  |  |  |
|  | Have soiled permeable pavements been cleaned of sediments and pass infiltration test as required by stormwater manual methodology? |  |  |  |  |  |  |  |  |
|  | Heavy equipment has been kept off existing soils under LID facilities to retain infiltration rate. |  |  |  |  |  |  |  |  |

E.  Check all areas that have been inspected.

| All in place BMPs |  | All disturbed soils |  |  |  | All concrete wash out area |  |  |  | All material storage areas |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| All discharge locations |  |  |  | All equipment storage areas |  |  |  | All construction entrances/exits |  |  |  |

F.  Elements checked “Action Required” (section D) describe corrective action to be taken.  List the element number; be specific on location and work needed.  Document, initial, and date when the corrective action has been completed and inspected.

| Element # | Description and Location | Action Required | Completion Date | Initials |
| --- | --- | --- | --- | --- |

Attach additional page if needed

Sign the following certification:

“I certify that this report is true, accurate, and complete, to the best of my knowledge and belief”

| Inspected by: (print) |  |  | (Signature) |  | Date: |  |
| --- | --- | --- | --- | --- | --- | --- |
| Title/Qualification of Inspector: |  |  |  |  |  |  |